## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Director(P), NHIDCL, Regional Office-Port Blair, A&N Islands
Name of Work: Shifting of 33 kV and 11 kV electrical utilities and construction of power lines from 155+000 km to 181+000 km of NH-4 in the Baratang and Rangat feeder areas of Middle Andaman., in the Union Territory of Andaman and Nicobar Islands on percentage rate basis in FY 2024-25.
Contract Package No: NHIDCL/RO/A&N/Package-IIIB/US/FY 2024-25/06
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | 33KV single core 300sqmm , aluminium,round wire armoured XLPE UG cable FRLS | BI01010001010000000000000515BI0100001113 | 49.81 | km | 826400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Straight through joint for cables 2 nos for single core (compound) | BI01010001010000000000000515BI0100001114 | 194 | nos | 25746 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Route indicator | BI01010001010000000000000515BI0100001115 | 81 | nos | 127 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Warning tape | BI01010001010000000000000515BI0100001116 | 8.06 | km | 4679 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Cable termintation kits (Indoor/outdoor) | BI01010001010000000000000515BI0100001117 | 65 | nos | 6854 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Excavation of any type of soil including laterite soil | BI01010001010000000000000515BI0100001118 | 4715.1 | Cum | 647 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Back filling of available excavated earth | BI01010001010000000000000515BI0100001119 | 4171.05 | Cum | 238 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Sand for cushioning of HT under ground cables | BI01010001010000000000000515BI0100001120 | 544.05 | Cum | 3600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Mechanical transport 30kms of sand | BI01010001010000000000000515BI0100001121 | 544.05 | Cum | 523 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Head load 100mtrs of sand | BI01010001010000000000000515BI0100001122 | 544.05 | Cum | 267 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | GI pipe 150mm dia with required no of collars for road crossing including termination points | BI01010001010000000000000515BI0100001123 | 886.6 | meter | 2971 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | RCC protective cover of size (300mm width x 300m length x 60mm thickness) for under ground cable. | BI01010001010000000000000515BI0100001124 | 7254 | meter | 714 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Brick masonary chamber 900x900x1050)mm with RCC TOP slab, cast iron cover in CI Frame (31kg) after 500mtrs | BI01010001010000000000000515BI0100001125 | 16 | nos | 44038 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Earthing electrode with B.F.C for 01 no earthing | BI01010001010000000000000515BI0100001126 | 32 | nos | 10800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Reinstallments of roads (1mx0.7mx0.2m)=14cums | BI01010001010000000000000515BI0100001127 | 112.84 | cum | 10630 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | 33 KV 1 core 300 sqmm A I conductor , XLPE , insulated armored cable (From the RMU to receiving substation) with 33 KV MU:Outdoor type RMU SF 6 insulated, Extensible type, at 33 KV system voltage and breaking capacity 25 KA for 1 sec With SF 6 circuit breaker/VCB self powered with O/C+E/F Relay system comprising of a) 33 KV, 630 A Motorised isolators Including earthing swatches with making capacity 62.5 KA , having mechanical on/off b) 33 KV 200 AMotorised spring operated circuit Breakers with earthing switches c) CU bus - Bar of 630 A Rating d) 1 no Numerical aux, Self powered relay having non directional O/C And E/F Protection for each CB feeder. e) Incoming isolators should have FPI With electrical Reset facility f) All necessary potential free contacts for indications relevant to RMU monitoring and control g) Capacitor voltage Divider serving line - line cable indicators in each breaker and isolator. 2) 33 KV single core in door terminating kits 3) 33 KV single core outdoor terminating kits 4) Rout marker 5) Warming tape 6) Cable termination kits (Indoor/Outdoor) 7) Excavation of any type of soil including hard laterite soil 8) Backfilling of available excavated earth 9) Sand for cushioning of HT underground cables 10) Mechanical transport of sand 11) Head load 100 mtrs of sand 12) GI pipe 150 mm dia With required no of collers For road crossing including termination points 13) RCC protective cover off size 300 mm (Width) x 300 mm (Length) x 60 mm (Thickness) For underground cable 14) Brick masonry chamber (900 X 900 X 1050) mm With RCC 15) Top slab cast iron cover in CI frame (38 kg) 16) Earthing complete by GI pipe 40 mm , 3 mtr Long through GI strip (25x3) mm. 17) Reinstatement of roads (100 m x 0.7 m x 0.2 m) = 14 cums. | BI01010001010000000000000515BI0100001128 | 3 | nos | 913458 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Support GI PIPE POLE OF 11 MTRS | BI01010001010000000000000515BI0100001130 | 129 | Nos | 15051.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Double GI Pipe Pole Structure at Disc Points on 10 meters pole. | BI01010001010000000000000515BI0100001131 | 40 | Nos | 12846 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | support structures G1 Channel for 11/3kV HT (l00x50x6mm) 1. 7mtrs | BI01010001010000000000000515BI0100001133 | 2550 | kg | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | GI channel for LT single cross ams (75x40x6mm) 1.5 mtrs | BI01010001010000000000000515BI0100001134 | 1377 | kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | GI Channel for HT pole cross bracing ( 75x40x6mm) | BI01010001010000000000000515BI0100001135 | 24 | kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Gl flat for Clamps (80/l00mmx8mm} | BI01010001010000000000000515BI0100001136 | 1216 | kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | GI clamps (75x8mm) | BI01010001010000000000000515BI0100001137 | 469 | kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | GI Nul bolt 16mm (5/8) 100mm | BI01010001010000000000000515BI0100001138 | 100 | kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | GI Nul bolt 16mm (5/8) 800mm | BI01010001010000000000000515BI0100001139 | 50 | kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | GI Nul bolt 16mm (5/8) 65mm | BI01010001010000000000000515BI0100001140 | 20 | kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | GI washer 6mm (5/8) | BI01010001010000000000000515BI0100001141 | 20 | Kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Earthing set complete | BI01010001010000000000000515BI0100001142 | 149 | Sets. | 4800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | GI stay set complete HT | BI01010001010000000000000515BI0100001143 | 20 | Sets. | 3000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Anti Climbing Devices | BI01010001010000000000000515BI0100001144 | 169 | Nos | 72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Foundation materials for muffins; | BI01010001010000000000000515BI0100001145 | 169 | Sets. | 4800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Conductors and condutors Accessories AAA Conductor 80Sq.mm 7/3.81 mm | BI01010001010000000000000515BI0100001147 | 15.6 | Kms | 53400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | AA I conductors 7/2.5 mm | BI01010001010000000000000515BI0100001148 | 26 | KMS | 25269.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | PG clamps | BI01010001010000000000000515BI0100001149 | 20 | Nos | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Danger plates | BI01010001010000000000000515BI0100001150 | 150 | Nos | 72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36 | Insulators and insulating materials 33KV Pin Insulator (Porcelain Type) with pin as per ISS | BI01010001010000000000000515BI0100001152 | 447 | Nos | 1167.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37 | 33kv Disc insulator (porcelain type) with hard ware as per ISS | BI01010001010000000000000515BI0100001153 | 120 | Nos | 774 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38 | LT insulator(porcelain type) as per ISS | BI01010001010000000000000515BI0100001154 | 600 | Nos | 214.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39 | LT Shackle insulator with hardware | BI01010001010000000000000515BI0100001155 | 80 | Nos | 108 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
40 | PVC Twice Core Service wire 8/10 mm | BI01010001010000000000000515BI0100001156 | 7000 | mtrs | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
41 | Out door 11KV HT Metering Arrangement with CT 150/5A and PT 11KV/10V along with pre - programmed Meter | BI01010001010000000000000515BI0100001157 | 1 | No | 120000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
42 | G.I Pipe pole 11 meters | BI01010001010000000000000515BI0100001158 | 10 | Nos. | 15051.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
43 | G.l. Channel (75x40x40x6mm) | BI01010001010000000000000515BI0100001159 | 275 | Kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
44 | G.1 Channel (l00x50x50x6mm) | BI01010001010000000000000515BI0100001160 | 275 | Kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
45 | GI angel to support transformer channel distribution 8ox (50x50x6) | BI01010001010000000000000515BI0100001161 | 250 | Kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
46 | G.l. clamp | BI01010001010000000000000515BI0100001162 | 125 | Kg. | 103.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
47 | G.l. bolts & Nuts & Washer16 mm (5/8) 100 | BI01010001010000000000000515BI0100001163 | 10 | Kg. | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
48 | G.I. strip 25x3 mm | BI01010001010000000000000515BI0100001164 | 150 | Kg. | 92.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
49 | 11 kV disc insulator (porcelain type) with pin as per ISS | BI01010001010000000000000515BI0100001165 | 45 | Nos. | 424.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
50 | 11 KV strain clamps complete with ball sleeved and socket eye | BI01010001010000000000000515BI0100001166 | 45 | Nos. | 516 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
51 | 11 KV lightning arrester | BI01010001010000000000000515BI0100001167 | 15 | Sets | 960 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
52 | 11 KV, 200 amps Horn Gap DO fuse | BI01010001010000000000000515BI0100001168 | 5 | Sets | 7200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
53 | 1 I kV ABS set | BI01010001010000000000000515BI0100001169 | 5 | Sets | 24000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
54 | LT distribution Box inclusive of Busbar, cutouts, metering etc | BI01010001010000000000000515BI0100001170 | 5 | Nos. | 42000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
55 | DT installation on plinth mounted | BI01010001010000000000000515BI0100001171 | 5 | Nos. | 180000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
56 | Earthing electrode with black fill compound | BI01010001010000000000000515BI0100001172 | 15 | Nos. | 10800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
57 | Foundation materials for MufFing | BI01010001010000000000000515BI0100001173 | 15 | Nos. | 2400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
58 | GI pipe pole 11 meteres | BI01010001010000000000000515BI0100001174 | 16 | Nos. | 15051.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
59 | GI Channel for double cross arm (100mmx50x6mm) 3 mtrs | BI01010001010000000000000515BI0100001175 | 1140 | kG | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
60 | GI clamp 75x8mm | BI01010001010000000000000515BI0100001176 | 180 | Nos. | 103.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
61 | GI Nut and bolt wiyh washer 16mm (5/8) 100mm | BI01010001010000000000000515BI0100001177 | 8 | kg | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
62 | GI strip (25mmx3mm) | BI01010001010000000000000515BI0100001178 | 120 | kgs | 92.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
63 | 11kv ABS set | BI01010001010000000000000515BI0100001179 | 4 | Nos. | 24000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
64 | 11KV LIGHTNING ARRESTOR | BI01010001010000000000000515BI0100001180 | 12 | NOs. | 960 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
65 | I I KV 200amps Horn Gap DO fuse unit | BI01010001010000000000000515BI0100001181 | 4 | set | 7200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
66 | 33kv ABS set | BI01010001010000000000000515BI0100001182 | 4 | set | 64338 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
67 | 33 KV LIGHTNING ARRESTOR | BI01010001010000000000000515BI0100001183 | 2 | Nos. | 11092.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
68 | 33KV, 200amps Horn Top Do fuse unit | BI01010001010000000000000515BI0100001184 | 4 | Nos. | 9600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
69 | Earthing electrode with back filling compund | BI01010001010000000000000515BI0100001185 | 3 | Nos. | 10800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
70 | LT distribution on plinth mounted with gaurding | BI01010001010000000000000515BI0100001186 | 1 | Nos. | 42000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
71 | DT installation on plinth mounted (pedestial) with gaurding | BI01010001010000000000000515BI0100001187 | 1 | Nos. | 180000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
72 | Foundation material for muffing | BI01010001010000000000000515BI0100001188 | 17 | Nos. | 2400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
73 | Support Double G.I. Pipe Pole (11 Mtrs.) | BI01010001010000000000000515BI0100001191 | 152 | No | 30103 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
74 | Support Fixtures G.I. Channel for 11/33KV HT Double Cross Arm(100x50x6 mm) 3 Mtrs. | BI01010001010000000000000515BI0100001193 | 8393 | No | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
75 | G.I. Channel for LT Single Cross Arm(75x40x6 mm) 1.5 Mtrs. | BI01010001010000000000000515BI0100001194 | 1278 | No | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
76 | G.I. Angle Channel for Cross Bracing (50x50x6mm) 3.5 Mtrs. | BI01010001010000000000000515BI0100001195 | 4790 | No | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
77 | G.I. Clamp 80/100 x 8mm | BI01010001010000000000000515BI0100001196 | 2433 | No | 103 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
78 | G.I. Clamp 75 x 8 mm | BI01010001010000000000000515BI0100001197 | 469 | No | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
79 | Bolts & Nuts & washer (5/8)16 x100 mm, 16x80mm. 16x65mm ,16x50mm, FulI Thread. | BI01010001010000000000000515BI0100001198 | 869 | No | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
80 | GI nuts and washers (5/8) 16 x100mm full thread | BI01010001010000000000000515BI0100001199 | 235 | No | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
81 | Earthing Set Complete | BI01010001010000000000000515BI0100001200 | 152 | No | 4800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
82 | G.I. Stay Sets Complete HT | BI01010001010000000000000515BI0100001201 | 26 | No | 3000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
83 | Anti-Climbing Device | BI01010001010000000000000515BI0100001202 | 152 | No | 72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
84 | Foundation Materials for Muffing | BI01010001010000000000000515BI0100001203 | 152 | nos | 4800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
85 | Conductor & Conductor Accessories AAA Conductor 7/3.18 mm | BI01010001010000000000000515BI0100001205 | 31.8 | nos | 40128 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
86 | AAA Conductor 7/2.5 mm | BI01010001010000000000000515BI0100001206 | 26 | nos | 25270 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
87 | P G.Clamps | BI01010001010000000000000515BI0100001207 | 24 | nos | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
88 | Danger Plate | BI01010001010000000000000515BI0100001208 | 152 | nos | 72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
89 | Insulator & Insulator Accessories 11 KV Disc Insulator (Porcelain Type) with pin as per ISS | BI01010001010000000000000515BI0100001210 | 912 | Nos. | 424.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
90 | 11 KV Strain Clamps Complete with ball sleeved and socket eye | BI01010001010000000000000515BI0100001211 | 21 | Nos. | 516 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
91 | 33 KV Disc Insulator (Porcelain Type)with pin as per ISS. | BI01010001010000000000000515BI0100001212 | 912 | Nos. | 774 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
92 | 33 KV Strain Clamps Complete with ball sleeved and socl‹et eye. | BI01010001010000000000000515BI0100001213 | 5 | Nos. | 870 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
93 | LT Disc Insulator (Porcelain Type) with pin as per ISS | BI01010001010000000000000515BI0100001214 | 760 | Nos. | 214.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
94 | LT Shackle Insulator with Hardware | BI01010001010000000000000515BI0100001215 | 87 | Nos. | 108 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
95 | PVC Twin Core Service wire 8/10 Sqmm | BI01010001010000000000000515BI0100001216 | 8689 | Mtrs. | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
96 | Door 11KV HT Metering Arrangement (Rangat Feeder) with CT 15u/5A and PT 11kV/110V alone with Pre Programmed Meter at Water | BI01010001010000000000000515BI0100001217 | 1 | No. | 120000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
97 | G.I.Pipe Pole 8 mtrs. | BI01010001010000000000000515BI0100001218 | 60 | Nos. | 9932.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
98 | G.I.Channel for Cross Arm (75x40x6mm) | BI01010001010000000000000515BI0100001219 | 490 | Kg. | 87.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
99 | G.I.Clamp 75x8 mm | BI01010001010000000000000515BI0100001220 | 180 | Kg. | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
100 | G.I.Bolts & Nuts & Washer 16 mm (5/8)x100 mm | BI01010001010000000000000515BI0100001221 | 90 | Kg. | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
101 | Earthing Set Complete | BI01010001010000000000000515BI0100001222 | 5 | Set | 4800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
102 | G.I.Stay Sets Complete | BI01010001010000000000000515BI0100001223 | 8 | set | 3000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
103 | Danger Plate | BI01010001010000000000000515BI0100001224 | 10 | Nos. | 72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
104 | AAA Conductor 7/2.5 mm | BI01010001010000000000000515BI0100001225 | 10 | Km. | 25272 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
105 | LT Disc Insulator (Porcelain Type) with pin as per ISS | BI01010001010000000000000515BI0100001226 | 250 | Nos. | 214.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
106 | Guy Insulator | BI01010001010000000000000515BI0100001227 | 10 | Nos. | 19.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
107 | Foundation Materials for Muffing | BI01010001010000000000000515BI0100001228 | 60 | Nos. | 2400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
108 | PVC Twin core Service Wire 8/10 sqmm | BI01010001010000000000000515BI0100001229 | 10000 | Mtrs. | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
109 | GI PIPE POLE OF 11 MTRS | BI01010001010000000000000515BI0100001230 | 16 | Nos | 15051.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
110 | GI CHANNEL for channel for double cross arm (100x50x6mm) 3mtrs | BI01010001010000000000000515BI0100001231 | 1140 | kgs | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
111 | GI clamp 75x8 mm | BI01010001010000000000000515BI0100001232 | 180 | kgs | 103.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
112 | GI bolts and nuts and washers 16mm (5/8)x100mm | BI01010001010000000000000515BI0100001233 | 8 | kgs | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
113 | GI strip 25x3mm | BI01010001010000000000000515BI0100001234 | 120 | kgs | 92.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
114 | 11kv ABS SET | BI01010001010000000000000515BI0100001235 | 4 | set | 24000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
115 | 11KV lightning arrestor | BI01010001010000000000000515BI0100001236 | 12 | nos | 960 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
116 | 11KV, 200Amps , horn gap, D.O. Fuse unit | BI01010001010000000000000515BI0100001237 | 4 | set | 7200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
117 | 33kv abs set | BI01010001010000000000000515BI0100001238 | 4 | set | 64338 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
118 | 33kv lightning arrestor | BI01010001010000000000000515BI0100001239 | 12 | nos | 11092.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
119 | 33KV, 200Amps , horn gap, D.O. Fuse unit | BI01010001010000000000000515BI0100001240 | 4 | set | 9600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
120 | Earthing electrode with back fill compund | BI01010001010000000000000515BI0100001241 | 24 | nos | 10800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
121 | Foundation materials for muffing | BI01010001010000000000000515BI0100001242 | 24 | nos | 2400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
122 | G. I. Pipe Pole 11 Mtrs. | BI01010001010000000000000515BI0100001243 | 12 | nos | 15051.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
123 | G. I. Channel ( 75x40x40x6mm) | BI01010001010000000000000515BI0100001244 | 330 | kg | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
124 | G. I. Channel ( 100x50x50x6mm) | BI01010001010000000000000515BI0100001245 | 270 | kg | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
125 | G.I Angle to support Transformer Channel & Distribution Box (50x50x6) | BI01010001010000000000000515BI0100001246 | 300 | kg | 81.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
126 | G. I. Clamp 75x8 mm | BI01010001010000000000000515BI0100001247 | 150 | kg | 103.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
127 | G. I. Bolts & Nuts & Washer 16mm (5/8)x100 mm | BI01010001010000000000000515BI0100001248 | 12 | kg | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
128 | G.I. Strip 25x3 mm | BI01010001010000000000000515BI0100001249 | 180 | set | 92.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
129 | 11 KV Disc Insulator (Porcelain Type)with pin as per ISS | BI01010001010000000000000515BI0100001250 | 54 | nos | 424.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
130 | 11 KV Strain Clamps Complete with ball sleeved and socket eye | BI01010001010000000000000515BI0100001251 | 54 | nos | 516 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
131 | 11 KV Lightning Arrestor | BI01010001010000000000000515BI0100001252 | 18 | set | 960 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
132 | 11 KV, 200 Amps. Horn Gap D.O.Fuse unit | BI01010001010000000000000515BI0100001253 | 6 | set | 7200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
133 | 11KV ABS Set | BI01010001010000000000000515BI0100001254 | 6 | nos | 24000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
134 | LT Distribution Box Inclusive of Busbar, Cout Out,Metering etc. | BI01010001010000000000000515BI0100001255 | 6 | nos | 42000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
135 | DT Installation on Plinth Mounted (Pedestal) with Guarding. | BI01010001010000000000000515BI0100001256 | 6 | nos | 180000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
136 | Earthing Electrode with Back fill compound | BI01010001010000000000000515BI0100001257 | 18 | nos | 10800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
137 | Foundation materials for muffing | BI01010001010000000000000515BI0100001258 | 18 | nos | 2400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information