## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: NHIDCL
Name of Work: “Construction of Rooftop Café at the terrace level of Automated Multilevel Car Parking at Transport Bhawan,1, Parliament Street, New Delhi-110001”
Contract No: NHIDCL/ACP/Rooftop Cafe /2018
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P (inclusive of all taxes including GST) | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (inclusive of all taxes including GST) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words (inclusive of all taxes including GST)
1 | Note:- All works is to be done above terrace that is 22 mtr level | BI01010001010000000000000515BI0100001112 |  |  | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 |  | 54
2 | 1. CIVIL WORKS | BI01010001010000000000000515BI0100001113 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3 | 1.1 REINFORCEMENT CEMENT CONCRETE (Note:- All works is to be done above terrace that is 22 mtr level) | BI01010001010000000000000515BI0100001114 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4 | (1.1.1) Centering and shuttering including strutting, propping etc. and removal of form for all heights : Suspended floors, roofs, landings, balconies and access platform | BI01010001010000000000000515BI0100001115 | 54 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | (1.1.2) Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete for all heights: Thermo-Mechanically Treated bars of grade Fe-500D or more. | BI01010001010000000000000515BI0100001116 | 1200 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | (1.1.3) Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using , using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately): All works above terrace 22 mtr level | BI01010001010000000000000515BI0100001117 | 10 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | 1.2. BRICK WORK | BI01010001010000000000000515BI0100001118 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8 | (1.2.1) Brick work with clay flyash/Modular F.P.S. (non modular) brick of class designation 7.5 in superstructure for all heights:Cement mortar 1:6 (1 cement : 6 coarse sand) | BI01010001010000000000000515BI0100001119 | 24 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | (1.2.2) Half brick masonry with non modular fly ash bricks of class designation 10, conformingio IS :12894, in super structure for all heights: cement mortar 1:4 (1 cement : 4 coarse sand) | BI01010001010000000000000515BI0100001120 | 50 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | (1.2.3) Providing and laying autoclaved aerated cement blocks masonry with 100 mm thick AAC blocks in super structure above plinth level up to 23 M height in cement mortar 1:4 (1 cement : 4 coarse sand ). (Make- Magicrete/ Builttech). | BI01010001010000000000000515BI0100001121 | 3 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | (1.2.4) Providing and Laying compacted bed of brick aggegrate of 40/50mm thick nominal size in required thickness including spreading , well remming consolidating & grouting with Jammuna sand including finishinf smooth etc complete as per direction of Engineer In Charge(Compacted Thickness to be measured for purpose of payment ) | BI01010001010000000000000515BI0100001122 | 10 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | 1.3. FINISHING | BI01010001010000000000000515BI0100001123 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13 | (1.3.1) Providing and applying 12-15mm thick cement plaster upto 23 m height 1:4 (1 cement : 4 fine sand) on walls including chicken wire mesh at junction of masonary and concrete works and over conduits, scaffolding, leveling and curing etc complete for all heights: 1:4 (1 cement: 4 fine sand) | BI01010001010000000000000515BI0100001124 | 256 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | (1.4) Providing and laying Polished Granite stone flooring/wall in required design and patterns, in linear as well as curvilinear portions of the building, all complete as per the architectural drawings, with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand), laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade, including rubbing, curing and full foulding, polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite Stone slab jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | BI01010001010000000000000515BI0100001125 | 26 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | (1.5) Providing Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position. | BI01010001010000000000000515BI0100001126 | 3000 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | (1.6) Providing and appllying painting on Steel mstructure with two coats of Duco paint (ICI Company) and one coat of duco primer. (Plan area to be measured for payment). | BI01010001010000000000000515BI0100001127 | 198 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17 | (1.7) Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete: Hot finished welded type tubes | BI01010001010000000000000515BI0100001128 | 2500 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | (1.8) Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | BI01010001010000000000000515BI0100001129 | 10 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | (1.9) Providing and laying Ceramic glazed floor/Wall tiles of size 300x300 /300x450mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | BI01010001010000000000000515BI0100001130 | 130 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20 | (1.10) Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge: GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending. | BI01010001010000000000000515BI0100001131 | 46 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
21 | (1.11) Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with: 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- Part I. | BI01010001010000000000000515BI0100001132 | 24 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.02 | Construction of chamber for 100mm sluice plates | item3 | 214 | Nos
22 | (1.12) Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to cafetaria roof height or more made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin- charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | BI01010001010000000000000515BI0100001133 | 900 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | (1.13) Providing and laying vitrified floor tiles in different sizes 9 to 10 mm thickness with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colors and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc.(Size of Tile 600X1200mm | BI01010001010000000000000515BI0100001134 | 170 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
24 | (1.14) Providing and laying Vitrified tiles in different sizes 9-10mm (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colors & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete: Size of Tile 600x600 mm | BI01010001010000000000000515BI0100001135 | 20 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | (1.15) Providing and fixing aluminum work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS : 1285, fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC/neoprene felt etc. Aluminum sections(2mm thick) shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminum snap beading for glazing / panelling, C.P. brass / stainless steel screws, Hinges , all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing and panelling to be paid for separately). For fixed portion: Powder coated aluminium (minimum thickness of powder coating 50micron ) | BI01010001010000000000000515BI0100001136 | 200 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
26 | (1.16) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of PVC / neoprene gasket required . Powder coated aluminium (minimum thickness of powder coating 50micron ) | BI01010001010000000000000515BI0100001137 | 50 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
27 | (1.17) Providing and fixing 12 mm thick prelaminated board flat pressed three layer or graded wood board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. Pre-laminated board with decorative lamination on one side and balancing lamination on other side | BI01010001010000000000000515BI0100001138 | 2 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
28 | (1.18) Providing and fixing glazing in aluminum door, window, ventilator shutters and partitions etc. with PVC/neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminum snap beading shall be paid in basic item): With float glass panes of 5.50mm mm thickness | BI01010001010000000000000515BI0100001139 | 2 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
29 | (1.19) Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness | BI01010001010000000000000515BI0100001140 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
30 | (1.20) Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | BI01010001010000000000000515BI0100001141 | 50 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
31 | (1.21) Powder coated aluminium (minimum thickness of powder coating 50micron) aluminum tubular handle bar . | BI01010001010000000000000515BI0100001142 | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
32 | (1.22) Designing, fabricating, testing, installing and fixing in position Curtain Wall with FR Grade Aluminum Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including Structural analysis & design and preparation of shop drawings for pressure equalization or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. Providing, fabricating and supplying and fixing panels of aluminum composite panel cladding in pan shape in metallic colour of approved shades made out of 4mm thick aluminum composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminum sheets (each 0.5mm thick). The aluminum composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. The fastening brackets of Aluminum alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, FR grade cleaning and protection of the curtain wall with aluminium composite panel cladding FR grade till the handing over of the building for occupation. Base frame work for ACP cladding FR Grade is payable under this aluminium item's The Contractor shall provide curtain wall with aluminum composite panel cladding,FR Grade having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding FR grade (including width of groove) shall be measured in sqm. up to two decimal places."( All work up to 2Hour fire rated ) The ACP Sheets shall be make of ALU DECOR and shade SD 6008- White Sand/ SD6012-Ivory Stand make or equivalent. complete in all respects as per the direction of engineer-in-charge. | BI01010001010000000000000515BI0100001143 | 68 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
33 | (1.23) Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 meters lead as per direction of Engineer - in - charge. Pocket cutting on Nominal concrete 1:3:6 /Coba of size 400x400mm depth up to 150 mm (i/c equivalent design mix) | BI01010001010000000000000515BI0100001144 | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | (1.24) Pocket cutting on Rcc Slab (M-25) of size 400x400mm depth up to 50 mm Nominal concrete 1:3:6 /Coba (i/c equivalent design mix) | BI01010001010000000000000515BI0100001145 | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
35 | (1.25) Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 meters lead as per direction of Engineer-in-charge. In cement mortar | BI01010001010000000000000515BI0100001146 | 5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
36 | (1.26) Providing and fixing 25 cm wide, 75 cm overall semi-circular plain G.S. sheet gutter with iron brackets 40x3mm size, bolts, nuts and washers etc., including making necessary connections with rain water pipes complete. 1.5 mm thick with zinc coating not less than 275 gm/m² | BI01010001010000000000000515BI0100001147 | 20 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
37 | (1.27) Drilling suitable holes in reinforced or plain cement concrete with power driven drill machine to a minimum depth of 100mm upto 200mm in RCC beams, lintels, columns and slabs to introduce steel bars for sunshades/balconies including fixing the steel bars in position using epoxy resin anchor grout of approved make but excluding the cost of reinforcement, all complete as per direction of Engineer-In-Charge. Upto and including 12mm dia. | BI01010001010000000000000515BI0100001148 | 10 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
38 | (1.28) Providing and fixing 25mm thick MDF board jali (Action Tesa/Century /Greenply ) in celing and wall having density 500-900kg/cum, moisture content 5-10%,water absorption 6% after 24hrs,modulus of rupture 28N/sqmm,Modulus of elastcity 2800N/sqmm,Internal bond 0.90N/sqmm ,Abrasion Resistance 1000N followed the IS Code 14587-1998 as per required design and drawings or as per sample approved by Engineer in charge. Measurement as per CPWD specification. | BI01010001010000000000000515BI0100001149 | 20 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
39 | (1.29) Providing and fixing Unistone tile ledge stone series1.1''-1.7''thick , size 4''x161/2'' ,weigth 4-5.5 kg/sft as per required design and drawings or as per sample approved by Engineer in charge. Measurement as per CPWD specification. | BI01010001010000000000000515BI0100001150 | 60 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
40 | 1.30 PLASTER OF PARIS | BI01010001010000000000000515BI0100001151 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
41 | (1.30.1) Providing and applying Plaster of Paris punning of 10 to 12 mm average thickness as per site conditions to the ceilings, beams, staircase sides and soffites to attain uniform level and plumb. Rate shall be inclusive of necessary hacking ,scaffolding , staging etc. as required. | BI01010001010000000000000515BI0100001152 | 50 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42 | (1.30.2) Providing and applying Plaster of Paris punning in multi-planar textured finish with average thickness of 20-30 mm as per design, for lift & toilet walls | BI01010001010000000000000515BI0100001153 | 30 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
43 | 1.31 FALSE CEILING | BI01010001010000000000000515BI0100001154 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
44 | (1.31.1) Providing and fixing of veneer finish ceiling in square panels venner shall be pasted on 18mm BWP board or any design as given by the architect with some difuse lighting space, ceiling shall be suspended from slab with wooden or m.s. framework. as/ detail given by the architect. Item shall be completed with all necessary hooks, bolts and malamine matt finish polished. Item shall be inclusiv of malamine polish finish to meet desired shade as approved by the architect. | BI01010001010000000000000515BI0100001155 | 38 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
45 | 1.32. WALL FINISHING | BI01010001010000000000000515BI0100001156 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
46 | (1.32.1) Supply and installation of Wall protection system which used solid grade 9mm compact High Pressure Laminate as per EN 438-2:2005,manufactured under high pressure and tempreature with bunch of kraft papers and decorative papers made of alpha cellulose fibre impregnated with thermosetting synthetic resins, fixed using an aluminium support profiles and a top covering profiles made of powder coated or anodized aluminium. | BI01010001010000000000000515BI0100001157 | 42 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
47 | (1.32.2) Providing three or more finishing coats of acryllic emulsion paint ICI Dulux / Asian paints of approved shade to walls and ceilings surfaces as mentioned by architect. The paint shall be , applied evenly to give approved uniform matt finish. Allow for preparation of surface and one coat of primer as specified. Paint shall be laid with rollers to acquire a stippled and textured finish. | BI01010001010000000000000515BI0100001158 | 25 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
48 | (1.32.3) Providing three or more finishing coats of oil bound destemper of ICI Dulux/Asian paints and shade to walls and ceilings, applied evenly to give approved uniform finish. Allow for preparation of surface and one coat of primer as specified. | BI01010001010000000000000515BI0100001159 | 50 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
49 | (1.32.4) Providing Three coats of water cut enamel paint ICI Dulux/Asian paints to approved shade inclusive of base and primer. ( insides of shafts ) | BI01010001010000000000000515BI0100001160 | 20 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
50 | (1.33) Providing and fixing of 3M make white winyl with CNC cutted design pattern as per detail given by the architect on glass. | BI01010001010000000000000515BI0100001161 | 5 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
51 | (1.34) Providing and fixing of 50mm thick and 120 minutes fire rating, conforming to BS:476 part 22 IS: 3614 part-II, specifications similar to that of prototype tested & certified at CBRI Roorkee, suitable for mounting on door frame made out of hardwood redmarrandi of section 120x70mm. The Shutter shall be comprising of 2 non- metallic, asbestos free, fire/smoke check doors Calcium Silicate boards each 12mm thick sandwiching 20mm thick fire resistant insulation filler faced with 3mm thick commercial ply on both faces with hard wood lipping all around the shutter with heat activated Intumescent fire seal strip of size 20 mm x 4 mm on all sides except bottom shutter and the Frame is fitted with 2no. Intumuscent fire seals strip of size 10x4mmin Main Frame (for smoke sealing). The shutter will be fixed with the frame with the help of SS ball bearing hinges of size 100x75x3mm. Provisions/reinforcement for fixing all fixtures shall be built in on the doors prior to the supply. The board shall be Resistant to vermin, mould growth, minor impact, abrasion and short term water attack and shall be Off –white in colour with a smooth surface suitable to receive most forms of decoration. The Construction design shall be similar to the design tested as per BS 476 part 22 and IS 3614 Part II, at CBRI, India. The rate also include SS Ball Bearing Hinges of size 100mm x 75mm x 3 mm of Becker Fire Solutions the shutter is provided with appropriate openings for view panel glass, if required. Prototype Test certificate for fire rating of doors from CBRI, Roorkee for earlier tested design shall be attached along with manufacturers test certificate.Intumescent hinge Liner & intumescent lock jackets of Lorient Make should be provided. Provisions/reinforcement for fixing all fixtures shall be built in on the doors prior to the supply. All wood work will be primed with FR-880 primer and putty . Door size sheet.Frame Hardwood Red Marrandi primer and paint finish with fire rated door .Shutter with primer finish.1mm thick Laminate finish.vision Panel - Supply of " PYRAN S SCHOTT MAKE 6mm thick Clear, 120 minute Rated Non Wired, Toughened Glass tested in accordance to EN 1363 / EN 1364 and Compliant to BS 476 Part 22. The Glass should be compliant to Class A Category of Impact Resistance to BS 6206:1981 Safety Glazing Material. The Glass should have a Light Transmission ration of approx 87% accoridng to EN 410 standards. Supply should be complete with Matrix Mineral Boards and VIPER Intumescent Putty SP - 711 complete in all respects OF SIZE 300X300MM. HINGES - Providing of Garg SS Ball Bearing Hinges of 100 x 75 x 3mm complet with SS Screws ( 4 Nos per panel ) (8 nos) DOORCLOSER- Providing fixing of UL Listed fire rated Becker Fire Solutions make BLC Heavy Duty door closers warranty offered by manufacturer(2 nos) PANIC TRIM- Providing of Openable locks / trims for Panic Bars (Becker Fire Solutions) to operate panic bar from outside with necessary screws as required.The lock and handle should be an amalgamanted single motion piece from the same manufacturer as that of Panic Bar(2 nos) Fastener- Providing of Hilti make fastener 10mm dia with hole plug(24 nos) | BI01010001010000000000000515BI0100001162 | 6.4 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
52 | (1.35) Providing and fixing Acrylic Solid surface of designer Routed synthetic polymer / Corian/samsung/merino/LG or Eqv panel of max 12mm thickness, on counter panelling as indicated in detail. The material selected shall be transluscent and allow varying intensities of light to pass thru to highlight routed designs. | BI01010001010000000000000515BI0100001163 | 30 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
53 | (1.36) Providing & fixing UV resistant multiwalled (twin walled) 16 mm thick translucent, clear or pigmented polycarbonate sheet roofing conforming to IS 14443: 1997 on steel structure with 50 micron polyster powder coated approved alcox aluminium section at the joints spaced @1.0 m to 1.20 m c/c as approved by Engineer-in-Charge and weather proof Neoprin/EPDM rubber gasket to make the whole structure waterproof fixed with self drilling screws 50 mm long with neoprin washers at least 15 cm centre to centre or at designed spacing including bending of polycarbonate sheet and alcox section to the required curvature and applying silicon sealant to seal the joints and fixing aluminium U-section of required section to the edges of the sheet for protecting it from breakage etc. with 20 mm long self drilling screws with neoprin washers at least 15 cm C/C and neoprin/EPDM rubber gasket complete as per direction of Engineer-in-Charge. (steel structure and aluminium sections to be paid for separately) Make-GE Lexan- Mettalic Gray shade | BI01010001010000000000000515BI0100001164 | 198 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
54 | (1.37) Providing ,fixing of DGU system window at Floor with necessary corrosion resistance accessories/fittings,speciallyextruded EPDM gaskets,Die casted corner clit.DGUPanels should be factory fabricated and should be as per approved manufacturers specifications.DGUGlass system shallbe 6mm reflective toughened glass+10to12mm air gap between filled with inert gas and hermetically sealed+ 6mm toughened glass which will take care of SGHC=0.25,Uvalue=0.58BTU/hr.sqft.DegFor3.30W/sqmK.Contractor shall submit manufacturer's data sheet before placing of the order to confirmit technicaldatatoEngineer-in-Charge. 1. Performance LaboratoryTest for AirLeakageTest(-50pato–300pa)&(+50pato+300pa) as per ASTME-283-04 testing method for arrange of testing limit 1to200mVhr 2. Static Water Penetration Test.(50pato1500pa)asperASTME-331-09 testing method for arange upto 2000ml.” 3. Dynamic Water Penetration (50pato1500pa) as per AAMA501.01-05 testing method fo rarange upto 2000ml” 4. Structural Performance Deflection and deformation by static air pressure test(1.5times design wind pressure without any failure)as per ASTME-330-10 testing method for arange upto 50mm” 5. Seismic Movement Test (upto30mm) as per AAMA501.4-09 Water Leakage for a pressure range 50kpa to 240kpa(35psi) upto 2000ml” | BI01010001010000000000000515BI0100001165 | 25 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
55 | (1.38) Providing/fixing 25/32mm dia anchor bolt having length 250mm long full theaded fixing with epoxy based chemical anchoring grout including drilling up to required length, threading, fixing etc. complete the works per direction of PM. | BI01010001010000000000000515BI0100001166 | 80 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
56 | (1.39) Providing and laying chair with steel base SS-304H=1185mm,Depth=710mm,Volume=0.60cum with fixed arm as per required design and drawings or as per sample approved by Engineer in charge. | BI01010001010000000000000515BI0100001167 | 80 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
57 | (1.40) Providing and laying Table with steel base size 600x450/600x600 as per required design and drawings or as per sample approved by Engineer in charge. | BI01010001010000000000000515BI0100001168 | 20 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
58 | (1.41) Providing and laying Flower pot as per required design and drawings or as per sample approved by Engineer in charge. | BI01010001010000000000000515BI0100001169 | 5 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
59 | (1.42) Providing ,fixing vertical garden / living green wall with jindal/Mahavir/Bhoruka make aluminium supportive system on wall for fixing pots frame , with irrigation deopper pipes system , finolex sand ,coco bricks, organic fertilizers , plants are ficus triangularis,ficus longisland, roheo discolor, alternanthera board , dracaena,myeri,iresiene, vucca as per approved by Engineer In charge ( Cost includes fasterners, with assioceries , Scaffolding paid seperatly ) | BI01010001010000000000000515BI0100001170 | 15 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
60 | (1.43) Providing and fixing of 12mm tuffened glass panel of desired size , as per design/detail as show-window glass. The panels shall be fixed within aluminum concealled channels fixed in floor and ceiling with necessary rough ground for both, with a minimum expansion tolerance gap of 3mm on both sides of panel. The edges shall then be finished with absolute clear silicon. All edges of glass shall be straight polished to mirror finish.Provision shall be left for fixing of patch fittngs for fixing of glass door. | BI01010001010000000000000515BI0100001171 | 15 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
61 | (1.44) Providing fixing 3M frost film on glass including assories or as per approved by Engineer In Charge | BI01010001010000000000000515BI0100001172 | 15 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
62 | (1.45) Providing and fixing roller blind Hunter douglas including fastner, roller with sliding up and down arrangement or as per approved by Engineer In charge ( For payment clear height of blind measure) | BI01010001010000000000000515BI0100001173 | 19.61 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
63 | 2. PLUMBING WORKS | BI01010001010000000000000515BI0100001174 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
64 | 2.1. WASTE AND RAIN WATER PIPES AND FITTINGS | BI01010001010000000000000515BI0100001175 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
65 | (2.1.1 ) Providing and fixing, testing and commissioning of SWR pipe type - B soil & waste & vent pipes (IS: 13592 - 1999) including all fittings such as bends,Y-Tee, Tee, Junctions, inspection doors, with 3 mm thick rubber washer; offsets, cowls, access pieces /plugs etc clamps/structural steel supports as required/directed at site, jointing with Solvent Cement including cutting holes in walls, slabs and making good with water proofing compund mixed mortars or concrete and testing complete. 110 mm dia (IS: 13592-1999) | BI01010001010000000000000515BI0100001176 | 20 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
66 | (2.1.2) Providing and fixing cast brass clean out plug with suitable insert keys for opening in brass cap, as per specification. 110 mm dia. | BI01010001010000000000000515BI0100001177 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
67 | (2.1.3) Providing and fixing on wall face unplasticised - Rigid PVC (6Kg) rain water pipes and unplasticised - PVC moulded fittings/accessories (Bend, Tee,sockets,Cowels) conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. (i) Single socketed pipes and fixing with pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50mm hard wood plugs, screwed with M.S. screws of required length including cuttingholes in slabs, brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the slabs and wall etc. complete.The cost will include all support arrangements. The work includes commissioning of all pipe lines as per drawings and specifications and as directed by Engg-in-charge at site. 110 mm OD | BI01010001010000000000000515BI0100001178 | 20 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
68 | (2.1.4) Providing, fixing and testing GI pipes Class 'C' (Medium duty) of approved make conforming to IS 1239-1982 complete with G.I. fittings such as tees, crosses, plugs, sockets, elbows, reducers, unions, sleeve pieces, check nuts etc including jointing with C.I. pipes (wherever required), cutting & making good the walls, floors, R.C.C. work etc. including cutting chases & filling the same, painting the GI pipes with two coats of bitumastic paint, wrapping with one layer of polythene tape. (for waste and supply connection of cafe area). | BI01010001010000000000000515BI0100001179 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
69 | 25 mm dia | BI01010001010000000000000515BI0100001180 | 5 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
70 | 20 mm dia | BI01010001010000000000000515BI0100001181 | 2 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
71 | 15 mm dia. | BI01010001010000000000000515BI0100001182 | 3 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
72 | (2.1.5) Providing & fixing of hand lever operated forged brass body full way Ball valve type isolating valve having forged brass hard chrome plated mirror finish ball, steel handle with PVC grip, Teflon seat, screwed ends tested to a pressure of 15-25 kg/sqcm complete. | BI01010001010000000000000515BI0100001183 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
73 | 25 mm nominal bore | BI01010001010000000000000515BI0100001184 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
74 | 15 mm nominal bore | BI01010001010000000000000515BI0100001185 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
75 | 2.2 CHROME PLATED FITTINGS | BI01010001010000000000000515BI0100001186 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
76 | (2.2.1) Providing and installation of Bibcock Auto closing system PRS -031 make Jaquar | BI01010001010000000000000515BI0100001187 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
77 | (2.2.2) Providing and installation of Bottle trap with internal partition 32mm sizewith 300mm and 190 mm long wall connection pipe and wall flange Model no. ADL-769L-300x190 make Jaquar | BI01010001010000000000000515BI0100001188 | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
78 | (2.2.3) Providing and installation of 600 mm long of wire mash flexible connection pipe as per specification. | BI01010001010000000000000515BI0100001189 | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
79 | (2.2.4) Providing and installation of Angular stop cock with wall flange Model no. FLR-5053N | BI01010001010000000000000515BI0100001190 | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
80 | (2.2.5) Providing and installation Stainless Steel round jali make Camry/Azur | BI01010001010000000000000515BI0100001191 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
81 | (2.2.6) Providing and installation Stainless Steel Nahani trap with square jali cover. make Camry/Azur | BI01010001010000000000000515BI0100001192 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
82 | (2.2.7) Providing and installation of Push button type Soap Dispensor ,for kitchen area | BI01010001010000000000000515BI0100001193 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
83 | (2.2.8) Supply instalation,testing and commissioning of s.s sink (550X450) size as per specification. Make Nirali | BI01010001010000000000000515BI0100001194 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
84 | (2.2.9) Supply instalation,testing and commissioning of bib cock.Model no. FLR-5047N make Jaquar | BI01010001010000000000000515BI0100001195 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
85 | (2.2.10) Providing and installation of Sink Mixer Table mounted with flange Model no. FLR-5179BN make Jaquar | BI01010001010000000000000515BI0100001196 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
86 | 3. ELECTRICAL WORK | BI01010001010000000000000515BI0100001197 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
87 | 3.1 MAIN DISTRIBUTION BOARDS, SUB DISTRIBUTION BOARDS & DISTRIBUTION BOARDS | BI01010001010000000000000515BI0100001198 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
88 | (3.1.1) Supplying and fixing following way, single pole and neutral, prewired.sheet steel MCB distribution board, 240 volts, on surface/ recess, complete with loose wire box terminal blocks duly pre-wired with suitable size FR PVC insulated copper conductor up to terminal block,tinned copper busbars, nrutral link, earth bar, dinbar, detachable gland plate , interconnections including phosphatized and powder painted including earthing etc. as required.(But without MCB/RCCB/Isolator). 12 way, Double door | BI01010001010000000000000515BI0100001199 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
89 | (3.1.2) Supplying and fixing following way, three Pole and neutral, prewired.sheet steel MCB distribution board, 415 volts, on surface/ recess, complete with loose wire box terminal blocks duly prewired with suitable size FR PVC insulated copper conductor up to terminal block,tinned copper busbars, nrutral link, earth bar, dinbar, detachable gland plate , interconnections including phosphatized and powder painted including earthing etc. as required.(But without MCB/RCCB/Isolator). 6 Way (4+18), Double door | BI01010001010000000000000515BI0100001200 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
90 | (3.1.3) Supplying & fixing 5 amps to 32 amps rating 240 volts C series, Miniature Circuit Breaker osuitable for lighting loads of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole. | BI01010001010000000000000515BI0100001201 | 30 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
91 | (3.1.4) Supply & fixing of D.P Box with 32 amp DP in recessed for A.C out let powers as per specifications . | BI01010001010000000000000515BI0100001202 | 6 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
92 | (3.1.5) Supply & fixing of single pole blanking plate in the existing MCB DB complete etc. as required | BI01010001010000000000000515BI0100001203 | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
93 | (3.1.6) Supplying & fixing following rating 240 volts, 2 Pole RCCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40A DP RCCB | BI01010001010000000000000515BI0100001204 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
94 | (3.1.7) Supplying & fixing following rating 415 volts, Four Pole RCCB in the existing MCB DB complete with connections, testing and commissioning and one nos TPN BOX for VRV Syatem etc. as required. 63A FP RCCB | BI01010001010000000000000515BI0100001205 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
95 | 3.2 CIRCUIT CUM POINT WIRING | BI01010001010000000000000515BI0100001206 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
96 | (3.2.1) Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface/ recessed steel conduit with modular switch modular plate suitable GI box and earthing the point with 1.5 sq.mm FR PVC insulated copper conductor single core cable etc.as required. Group C | BI01010001010000000000000515BI0100001207 | 45 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
97 | (3.2.2) Wiring for power plug points with 2 x 4 sq.mm. FR PVC insulated, Cu. Conductor, single core cable in surface/ recessed steel conduit along with 1 No. 4sq.mm. FR PVC insulated copper conductor single core cable etc. as required. | BI01010001010000000000000515BI0100001208 | 150 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
98 | (3.2.3) Wiring for circuit/ submain wiring alongwith earth wire with the follwing size of PVC Insulated copper conductor single core cable in surface/ recess Steel conduit as required. | BI01010001010000000000000515BI0100001209 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
99 | (3.2.3.1) 2x 2.5 sqmm+ 1x 1.5 sqmm earth wire | BI01010001010000000000000515BI0100001210 | 50 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
100 | (3.2.3.2) 2x 6 sqmm+ 1x 6 sqmm earth wire | BI01010001010000000000000515BI0100001211 | 35 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
101 | (3.2.3.3) 2x 10 sqmm+ 2x 6 sqmm earth wire | BI01010001010000000000000515BI0100001212 | 50 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
102 | (3.2.3.4) 4x 10 sqmm+ 2x 10 sqmm earth wire | BI01010001010000000000000515BI0100001213 | 80 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
103 | (3.2.4) Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess including providing and fixing 3 pin 5/6 Amp modular socket outlet and 5/6 A modular type switch, connections painting etc. as reqd, for Light plug point.(For light plugs to be used in non residential buildings.) | BI01010001010000000000000515BI0100001214 | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
104 | (3.2.5) Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess including providing and fixing 6 pin 15/16 & 5/6 Amp modular socket outlet and 15/16 A modular type switch, connections painting etc. as reqd. (for power sockets) | BI01010001010000000000000515BI0100001215 | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
105 | (3.2.6) Supplying and fixing of celing fan with Stepped type electronic fan regulator on the existing modular plate & switch box including connections but excluding modular plate etc. as reqd. | BI01010001010000000000000515BI0100001216 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
106 | (3.2.7) Supplying and fixing 20 Amps. 240 Volts SPN industrial type socket outlet, with 2 pole and earth metal enclosed plug top along with 20 A `C' series SP MCB in sheet steel enclosure, on surface or in recess with chained metal cover for the socket outlet complete with connections testing and commissioning etc. as reqd, for A.C. outlet | BI01010001010000000000000515BI0100001217 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
107 | 3.3 Fire Alarm system to be loop in Existing system | BI01010001010000000000000515BI0100001218 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
108 | 3.3.1. Supplying and fixing of following sizes of MS conduit along with the accessories in surface / surface including painting in case of surface conduit in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.20 mm dia. | BI01010001010000000000000515BI0100001219 | 100 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
109 | 3.3.2. Supplying and drawing following sizes of PVC insulated FRLS copper conductor single core cable in the existing surface / recessed steel conduit as required.2 x 1.5 sq.mm . | BI01010001010000000000000515BI0100001220 | 100 | meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
110 | 3.3.3. Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc as required.200mm x 125 mm x 60 mm deep | BI01010001010000000000000515BI0100001221 | 2 | sets |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
111 | 3.3.4. Supply and fixing of following size/ modules, GI box along with modular base & cover plate for modular switch/ regulator in recess, including connection as required. 1or 2 module (75mmx 75mm) | BI01010001010000000000000515BI0100001222 | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
112 | 3.3.5. supply Installation testing and commissoning of Smoke Detectors as specification. | BI01010001010000000000000515BI0100001223 | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
113 | 3.3.6. supply Installation testing and commissoning of Heat Detectors as per specification. | BI01010001010000000000000515BI0100001224 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
114 | 3.3.7. Earthing : Providing and fixing 6SWG dia GI Wire on surface or in recess for loop earthing as required. | BI01010001010000000000000515BI0100001225 | 50 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
115 | 3.4. SUPPLY AND INSTALLATION OF LIGHT FIXTURES | BI01010001010000000000000515BI0100001226 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
116 | 3.4.1 Providing Aura 10 watt LED Type make - Philips complete with as required Note: - All Lights sample approval must be taken from client/cunsultant. | BI01010001010000000000000515BI0100001227 | 50 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
117 | 3.4.2. 1x9W outdoor bulkhead surface mounting light fixture complete with glass cover, as required Note: - All Lights sample approval must be taken from client/cunsultant. | BI01010001010000000000000515BI0100001228 | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
118 | 3.4.3. Providing, fixing, testing and commissioning of Propeler Exhaust Fan 300X300 MM SIZE for kitchen area as per specification . | BI01010001010000000000000515BI0100001229 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
119 | 3..5. AIRCONDITIONING ITEM | BI01010001010000000000000515BI0100001230 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
120 | 3.5.1. Supply of VRF inverter based , Heat pump type VRF system of following configuration with refrigerant R-410A : Out door Unit : Fully factory assembled, wired and tested Heat Pump Type Outdoor Condensing Units having inverter compressor, inverter fan motor, fresh refrigerant etc . 22 HP Out door unit , heat pump type with R-410A. | BI01010001010000000000000515BI0100001231 | 1 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
121 | 3.5.2. Supply of following indoor units. Fully factory assembled Indoor Units of following type and capacities as per given specifications. 4- Way Cassette Unit. 3 TR Cassette Unit | BI01010001010000000000000515BI0100001232 | 6 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
122 | 3.5.3 Accessories for above indoor and out door units. Wireless Remote for cassette units | BI01010001010000000000000515BI0100001233 | 6 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
123 | 3.5.4. Refrigerant Piping Y-Joints or Headers as required to connect the above outdoor units and indoor units - | BI01010001010000000000000515BI0100001234 | 5 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
124 | 3.5.5. Low Side. Installation, Testing & Commissioning VRF System as per detail given below :- Out door unit Installation. Installation, testing & Commissioning of following capacity of out door units : Nominal Capacity in HP as following: Fully factory assembled, wired and tested Heat Pump Type Outdoor Condensing Units having inverter compressor, inverter fan motor, fresh refrigerant, etc. 2 HP Out door unit , heat pump type with R-410A. | BI01010001010000000000000515BI0100001235 | 1 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
125 | 3.5.6. Installation of following indoor units. Fully factory assembled Indoor Units of following type and capacities as per given specifications. 4- Way Cassette Unit. 3 TR Cassette Unit | BI01010001010000000000000515BI0100001236 | 6 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
126 | 3.5.7. Accessories for above indoor and out door units. Wireless Remote for cassette units | BI01010001010000000000000515BI0100001237 | 6 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
127 | 3.5.8. Refrigerant Piping Y-Joints or Headers as required to connect the above outdoor units and indoor units | BI01010001010000000000000515BI0100001238 | 5 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
128 | 3.5.9. Copper Refrigerant Piping with Insulation for VRV / VRF System & TFA System: SITC of Copper Refrigerant piping for VRV / VRF System complete with fittings, supports, jointing, insulation with Nitrile rubber, gas charging & commissioning as per specifications, all accessories as per specifications and any other item required to make the system complete. Nominal Dia in mm OD as indicated below. | BI01010001010000000000000515BI0100001239 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
129 | 28.6 | BI01010001010000000000000515BI0100001240 | 20 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
130 | 22.2 | BI01010001010000000000000515BI0100001241 | 10 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
131 | 19.1 | BI01010001010000000000000515BI0100001242 | 5 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
132 | 15.9 | BI01010001010000000000000515BI0100001243 | 75 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
133 | 12.7 | BI01010001010000000000000515BI0100001244 | 5 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
134 | 9.5 | BI01010001010000000000000515BI0100001245 | 60 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
135 | 3.5.10. UV Coating of exposed refrigerant piping: Providing and applying UV coating on exposed copper pipe insulation with fibre glass cloth and star bond etc. | BI01010001010000000000000515BI0100001246 | 20 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
136 | 3.5.11. Drain Piping: SITC of uPVC (Minimum 10 Kg/Sqcm G pressure rated) Drain Water Piping complete with fittings (elbows, tees, reducers, sockets etc.), supports, jointing and 6mm thick nitrile rubber insulation. Nominal OD of pipes are indicated below: | BI01010001010000000000000515BI0100001247 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
137 | 40 | BI01010001010000000000000515BI0100001248 | 10 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
138 | 32 | BI01010001010000000000000515BI0100001249 | 30 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
139 | 3.5.12 Control Cum Transmission cable: SITC of Control cum Transmission wiring in suitable conduits between indoor & outdoor units of VRF Units . 2 C x 1.5 Sqmm Copper. | BI01010001010000000000000515BI0100001250 | 100 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
140 | 3.5.13. SITC of Power and Control wiring and earthing of Single Phase VRF Indoor unit including, supply and fixing of 3 pin 15A plug top, supply and installation of wiring between 3-pin plug, Fan motor etc. complete in all respects as per specifications and any other item required to make the system complete. (Note : Socket along with wire shall be provided by customer near each indoor unit | BI01010001010000000000000515BI0100001251 | 6 | sets |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information